WATER POLO

EVENT CERTIFICATION

ORGANIZING BODY

BUILDING NAME

OWNER

CONTRACTOR

DESIGN TEAM

DATE

WORLD AQUATICS

APPROVED BY

DATE

SIGNATURE

In force as from 1 April 2026

# MEASUREMENT CRITERIA

## THE MEASUREMENTS must BE DONE BY A CERTIFIED SURVEYOR, APPOINTED OR APPROVED BY THE MEMBER IN THE COUNTRY IN WHICH THE VENUE IS LOCATED.

## The surveying equipment must be a Total Station. The minimum requirements of the Total Station are the following:

- Angle Measurement Accuracy HORIzONTAL and VERTICAL: 1" (0.3 mgon)

- Distance Measurement Accuracy: 1mm + 1.5ppm

## The surveyor must provide a Calibration Certificate confirming the measurement quality of surveying equipment. The certificate must have a maximum validity of 1 year.

## All dimensions must be measured using a mini prism or targets.

## measurements must be measured with the pool full of water.

## The water temperature The water temperature must be between 25.0°C and 27.0°C PER PART 6, 20.2.7.

# FIELD OF PLAY

PART 6, 20.2.3 - The dimensions of the Field of Play are also set out in the diagram at Appendix 1 to this Part Six. However, in the case of any conflict between that Appendix and this Article 20, this Article 20 will prevail.

| WORLD AQUATICS RULE | COMPLIANT | NONCOMPLIANT |
| --- | --- | --- |
| PART 6, 20.2.3 |  |  |

PART 6, 20.2 – General Requirements for the Field of Play:

20.2.1 - The limits of the Field of Play are the inner edges of the two (2) Goal Lines and the two (2) Side Lines.

20.2.2.1 - Length: the distance between the inner edge of the two (2) Goal Lines must be 25.00 metres.

20.2.2.2 - Width: the distance between the inner edge of the two (2) Side Lines must be 20.00 metres.

20.2.3 - The dimensions of the Field of Play are also set out in the diagram at Appendix 1 to this Part Six. However, in the case of any conflict between that Appendix and this Article 20, this Article 20 will prevail.

| DIMENSION [M] | MEN/WOMEN |
| --- | --- |
| A1 |  |
| A2 |  |
| A3 |  |
| A4 |  |
| A5 |  |
| B1 |  |
| B2 |  |
| B3 |  |
| B4 |  |
| B5 |  |
| C1 |  |
| C2 |  |
| C3 |  |
| D1 |  |
| D2 |  |
| D3 |  |

PART 6, 20.2.4 - The depth of the water inside the Field of Play will at no point be less than 2.00 metres.

| WORLD AQUATICS RULE | COMPLIANT | NONCOMPLIANT |
| --- | --- | --- |
| PART 6, 20.2.4 |  |  |

# WATER TEMPERATURE

PART 6, 20.2.5 - The water temperature must be between 25.0°C and 27.0°C.

| WORLD AQUATICS RULE | COMPLIANT | NONCOMPLIANT |
| --- | --- | --- |
| PART 6, 20.2.5 |  |  |

# LIGHT INTENSITY

PART 6, 20.8.2.2 - The light intensity shall not be less than 1500 lux. A lighting report shall be issued in addendum with this document.

|  | YES |  | NO |  |
| --- | --- | --- | --- | --- |
| LIGHTING REPORT ISSUED |  |  |  |  |
| WORLD AQUATICS RULE | COMPLIANT | NONCOMPLIANT |  | N/A |
| PART 6, 20.8.2.2 |  |  |  |  |

# ADDITONAL COMMENTS

This section is provided for additional comments:

# SIGNATURES

| BUILDING NAME |  |  |  |
| --- | --- | --- | --- |
| SURVEYOR |  | SIGNATURE |  |
|  |  | DATE |  |
| POOL OPERATOR |  | SIGNATURE |  |
|  |  | DATE |  |
| ORGANIZING BODY |  | SIGNATURE |  |
|  |  | DATE |  |
| FEDERATION |  | SIGNATURE |  |
|  |  | DATE |  |
| REVIEW STAMP |  |  |  |